## HWS
| PROJECT: | §§§§§§§§§§§
| SYSTEM: | HOT WATER SERVICES
SYSTEM WATER CONTENT CALCULATION
|  | 0.205 | 0.367 | 0.586 | 1.016 | 1.376 | 2.205 | 3.7 | 5.115 | 8.68 | 18.95 | 34.42
| Area | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 80 | 100 | 150 | 200
PIPEWORK | Plantroom | [11 empty] | 0
| Basement | [11 empty] | 0
| RISERS | [11 empty] | 0
| Basement | [11 empty] | 0
| Ground | [11 empty] | 0
| 1st | [11 empty] | 0
| 2nd | [11 empty] | 0
| 3rd | [11 empty] | 0
| 4th | [11 empty] | 0
| 5th | [11 empty] | 0
| 6th | [11 empty] | 0
| 7th | [11 empty] | 0
| 8th | [11 empty] | 0
| 9th | [11 empty] | 0
| 10th | [11 empty] | 0
| 11th | [11 empty] | 0
| 12th | [11 empty] | 0
| 13th | [11 empty] | 0
| 14th | [11 empty] | 0
| 15th | [11 empty] | 0
| 16th | [11 empty] | 0
| 17th | [11 empty] | 0
| 18th | [11 empty] | 0
| 19th | [11 empty] | 0
| 20th | [11 empty] | 0
| FLOORS | [11 empty] | 0
| Basement | [11 empty] | 0
| Ground | [11 empty] | 0
| 1st | [11 empty] | 0
| 2nd | [11 empty] | 0
| 3rd | [11 empty] | 0
| 4th | [11 empty] | 0
| 5th | [11 empty] | 0
| 6th | [11 empty] | 0
| 7th | [11 empty] | 0
| 8th | [11 empty] | 0
| 9th | [11 empty] | 0
| 10th | [11 empty] | 0
| 11th | [11 empty] | 0
| 12th | [11 empty] | 0
| 13th | [11 empty] | 0
| 14th | [11 empty] | 0
| 15th | [11 empty] | 0
| 16th | [11 empty] | 0
| 17th | [11 empty] | 0
| 18th | [11 empty] | 0
| 19th | [11 empty] | 0
| 20th | [11 empty] | 0
0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat Loss (bare): | 37 | 51 | 62 | 74 | 86 | 106 | 127 | 142 | 190 | 264
| Heat Loss (lagged) 60C: | 7.6 | 8.8 | 10 | 11.6 | 12.8 | 14.8 | 17.6 | 20 | 24.4 | 33.2 | 42.8 | 40
| Heat Loss (lagged) 75C: | 10.45 | 12.1 | 13.75 | 15.95 | 17.6 | 20.35 | 24.2 | 27.5 | 33.55 | 45.65 | 58.85 | 55
|  | Content Each | No off | Standing Loss | TOTAL
EQUIPMENT | AHU Coils |  |  |  | 0
| Boilers |  |  |  | 0 |  |  |  |  | PIPEWORK HEAT LOSS= | 0 |  | 0 | 0
| Buffer Vessels |  |  |  | 0 |  |  |  |  | SYSTEM WATER CONTENT= | 0 |  |  | Check HWS Sec Flow Rate ↑
| Expansion Vessels |  |  |  | 0
| FCUs |  |  |  | 0 |  |  |  |  | Water Operating Temperature: | 65 | 983.2
| Radiators |  |  |  | 0 |  |  |  |  | Water Expansion from 4C: | 0
| Underfloor Heating |  |  |  | 0 |  |  |  |  | Expansion Vessel Acceptance Factor: | 10%
| Calorifiers |  |  |  | 0 |  |  |  |  | Expansion Vessel(s) Size: | 0
| Other |  |  |  | 0
0
| Pipework |  |  |  | 0 | see above
|  |  |  | 0 | 0
SEND TO MANUFACTURER FOR FINAL SELECTION
Zilmet Model:
Diameter:
Height:
Connections:
THIS IS A SAMPLE OF ONE OF OUR SPREADSHEETS - ADD PIPE LENGTHS & IT GIVES SYSTEM VOLUME, HEAT LOSSES & A TYPICAL EXPANSION VESSEL SELECTION
Note on C6: Smith: Flow AND return lengths please
Note on D6: Smith: Flow AND return lengths please
Note on E6: Smith: Flow AND return lengths please
Note on F6: Smith: Flow AND return lengths please
Note on G6: Smith: Flow AND return lengths please
Note on H6: Smith: Flow AND return lengths please
Note on I6: Smith: Flow AND return lengths please
Note on J6: Smith: Flow AND return lengths please
Note on K6: Smith: Flow AND return lengths please
Note on L6: Smith: Flow AND return lengths please
Note on M6: Smith: Flow AND return lengths please
Note on B58: David Smith: 25mm rockwool Table 3.23 CIBSE
Note on N63: David Smith: Excluding dead legs
Note on L68: Smith: 10% typical, check max recommended by manufacturer

## Heating
| PROJECT: | §§§§§§§§§§§
| SYSTEM: | HEATING
SYSTEM WATER CONTENT CALCULATION
|  | 0.205 | 0.367 | 0.586 | 1.016 | 1.376 | 2.205 | 3.7 | 5.115 | 8.68 | 18.95 | 34.42
| Area | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 80 | 100 | 150 | 200
PIPEWORK | Plantroom | [11 empty] | 0
| Basement | [11 empty] | 0
| RISERS | [11 empty] | 0
| Basement | [11 empty] | 0
| Ground | [11 empty] | 0
| 1st | [11 empty] | 0
| 2nd | [11 empty] | 0
| 3rd | [11 empty] | 0
| 4th | [11 empty] | 0
| 5th | [11 empty] | 0
| 6th | [11 empty] | 0
| 7th | [11 empty] | 0
| 8th | [11 empty] | 0
| 9th | [11 empty] | 0
| 10th | [11 empty] | 0
| 11th | [11 empty] | 0
| 12th | [11 empty] | 0
| 13th | [11 empty] | 0
| 14th | [11 empty] | 0
| 15th | [11 empty] | 0
| 16th | [11 empty] | 0
| 17th | [11 empty] | 0
| 18th | [11 empty] | 0
| 19th | [11 empty] | 0
| 20th | [11 empty] | 0
| FLOORS | NB: Allow 5m per m2 for underfloor heating
| Basement | [11 empty] | 0
| Ground | [11 empty] | 0
| 1st | [11 empty] | 0
| 2nd | [11 empty] | 0
| 3rd | [11 empty] | 0
| 4th | [11 empty] | 0
| 5th | [11 empty] | 0
| 6th | [11 empty] | 0
| 7th | [11 empty] | 0
| 8th | [11 empty] | 0
| 9th | [11 empty] | 0
| 10th | [11 empty] | 0
| 11th | [11 empty] | 0
| 12th | [11 empty] | 0
| 13th | [11 empty] | 0
| 14th | [11 empty] | 0
| 15th | [11 empty] | 0
| 16th | [11 empty] | 0
| 17th | [11 empty] | 0
| 18th | [11 empty] | 0
| 19th | [11 empty] | 0
| 20th | [11 empty] | 0
0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat Loss (bare): | 37 | 51 | 62 | 74 | 86 | 106 | 127 | 142 | 190 | 264
| Heat Loss (lagged) 60C: | 7.6 | 8.8 | 10 | 11.6 | 12.8 | 14.8 | 17.6 | 20 | 24.4 | 33.2 | 42.8 | 40
| Heat Loss (lagged) 75C: | 10.45 | 12.1 | 13.75 | 15.95 | 17.6 | 20.35 | 24.2 | 27.5 | 33.55 | 45.65 | 58.85 | 55
|  | Content Each | No off | Standing Loss | TOTAL
EQUIPMENT | AHU Coils |  |  |  | 0
| Boilers |  |  |  | 0 |  |  |  |  | PIPEWORK HEAT LOSS= | 0 |  | 0 | 0
| Buffer Vessels |  |  |  | 0 |  |  |  |  | SYSTEM WATER CONTENT= | 0 |  |  | CheckHWS Sec Flow Rate ↑
| Expansion Vessels |  |  |  | 0
| FCUs |  |  |  | 0 |  |  |  |  | Water Operating Temperature: | 80 | 971.8
| Radiators |  |  |  | 0 |  |  |  |  | Water Expansion from 4C: | 0
| Underfloor Heating |  |  |  | See floor calcs |  |  |  |  | Expansion Vessel Acceptance Factor: | 10%
| Calorifiers |  |  |  | 0 |  |  |  |  | Expansion Vessel(s) Size: | 0
| Other |  |  |  | 0
0
| Pipework |  |  |  | 0 | see above
|  |  |  | 0 | 0
SEND TO MANUFACTURER FOR FINAL SELECTION
Zilmet Model:
Diameter:
Height:
Connections:
THIS IS A SAMPLE OF ONE OF OUR SPREADSHEETS - ADD PIPE LENGTHS & IT GIVES SYSTEM VOLUME, HEAT LOSSES & A TYPICAL EXPANSION VESSEL SELECTION
Note on C6: Smith: Flow AND return lengths please
Note on D6: Smith: Flow AND return lengths please
Note on E6: Smith: Flow AND return lengths please
Note on F6: Smith: Flow AND return lengths please
Note on G6: Smith: Flow AND return lengths please
Note on H6: Smith: Flow AND return lengths please
Note on I6: Smith: Flow AND return lengths please
Note on J6: Smith: Flow AND return lengths please
Note on K6: Smith: Flow AND return lengths please
Note on L6: Smith: Flow AND return lengths please
Note on M6: Smith: Flow AND return lengths please
Note on B58: David Smith: 25mm rockwool Table 3.23 CIBSE
Note on N63: David Smith: Excluding dead legs
Note on L68: Smith: 10% typical, check max recommended by manufacturer

## SOLAR
| PROJECT: | §§§§§
| SYSTEM: | SOLAR
SYSTEM WATER CONTENT CALCULATION
|  | 0.205 | 0.367 | 0.586 | 1.016 | 1.376 | 2.205 | 3.7 | 5.115 | 8.68 | 18.95 | 34.42
| Area | 15 | 20 | 25 | 32 | 40 | 50 | 65 | 80 | 100 | 150 | 200
PIPEWORK | Plantroom | [11 empty] | 0
| Basement | [11 empty] | 0
| RISERS | [11 empty] | 0
| Basement | [11 empty] | 0
| Ground | [11 empty] | 0
| 1st | [11 empty] | 0
| 2nd | [11 empty] | 0
| 3rd | [11 empty] | 0
| 4th | [11 empty] | 0
| 5th | [11 empty] | 0
| 6th | [11 empty] | 0
| 7th | [11 empty] | 0
| 8th | [11 empty] | 0
| 9th | [11 empty] | 0
| 10th | [11 empty] | 0
| 11th | [11 empty] | 0
| 12th | [11 empty] | 0
| 13th | [11 empty] | 0
| 14th | [11 empty] | 0
| 15th | [11 empty] | 0
| 16th | [11 empty] | 0
| 17th | [11 empty] | 0
| 18th | [11 empty] | 0
| 19th | [11 empty] | 0
| 20th | [11 empty] | 0
| FLOORS | [11 empty] | 0
| Basement | [11 empty] | 0
| Ground | [11 empty] | 0
| 1st | [11 empty] | 0
| 2nd | [11 empty] | 0
| 3rd | [11 empty] | 0
| 4th | [11 empty] | 0
| 5th | [11 empty] | 0
| 6th | [11 empty] | 0
| 7th | [11 empty] | 0
| 8th | [11 empty] | 0
| 9th | [11 empty] | 0
| 10th | [11 empty] | 0
| 11th | [11 empty] | 0
| 12th | [11 empty] | 0
| 13th | [11 empty] | 0
| 14th | [11 empty] | 0
| 15th | [11 empty] | 0
| 16th | [11 empty] | 0
| 17th | [11 empty] | 0
| 18th | [11 empty] | 0
| 19th | [11 empty] | 0
| 20th | [11 empty] | 0
0
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Heat Loss (bare): | 37 | 51 | 62 | 74 | 86 | 106 | 127 | 142 | 190 | 264
| Heat Loss (lagged) 60C: | 7.6 | 8.8 | 10 | 11.6 | 12.8 | 14.8 | 17.6 | 20 | 24.4 | 33.2 | 42.8 | 40
| Heat Loss (lagged) 75C: | 10.45 | 12.1 | 13.75 | 15.95 | 17.6 | 20.35 | 24.2 | 27.5 | 33.55 | 45.65 | 58.85 | 55
|  | Content Each | No off | Standing Loss | TOTAL
EQUIPMENT | AHU Coils |  |  |  | 0
| Boilers |  |  |  | 0 |  |  |  |  | PIPEWORK HEAT LOSS= | 0 |  | 0 | 0
| Buffer Vessels |  |  |  | 0 |  |  |  |  | SYSTEM WATER CONTENT= | 0 |  |  | Check HWS Sec Flow Rate ↑
| Expansion Vessels |  |  |  | 0
| FCUs |  |  |  | 0 |  |  |  |  | Water Operating Temperature: | 90 | 969.55
| Radiators |  |  |  | 0 |  |  |  |  | Water Expansion from 4C: | 0
| Underfloor Heating |  |  |  | 0 |  |  |  |  | Expansion Vessel Acceptance Factor: | 10%
| Calorifiers |  |  |  | 0 |  |  |  |  | Expansion Vessel(s) Size: | 0
| Other |  |  |  | 0
| Solar Panels |  |  |  | 0
| Pipework |  |  |  | 0 | see above
|  |  |  | 0 | 0
SEND TO MANUFACTURER FOR FINAL SELECTION
Zilmet Model:
Diameter:
Height:
Connections:
THIS IS A SAMPLE OF ONE OF OUR SPREADSHEETS - ADD PIPE LENGTHS & IT GIVES SYSTEM VOLUME, HEAT LOSSES & A TYPICAL EXPANSION VESSEL SELECTION
Note on C6: Smith: Flow AND return lengths please
Note on D6: Smith: Flow AND return lengths please
Note on E6: Smith: Flow AND return lengths please
Note on F6: Smith: Flow AND return lengths please
Note on G6: Smith: Flow AND return lengths please
Note on H6: Smith: Flow AND return lengths please
Note on I6: Smith: Flow AND return lengths please
Note on J6: Smith: Flow AND return lengths please
Note on K6: Smith: Flow AND return lengths please
Note on L6: Smith: Flow AND return lengths please
Note on M6: Smith: Flow AND return lengths please
Note on B58: David Smith: 25mm rockwool Table 3.23 CIBSE
Note on N63: David Smith: Excluding dead legs
Note on L68: Smith: 10% typical, check max recommended by manufacturer

## Water Properties (hidden)
Temp | Water Expansion | Density
( °C ) |  | pure water
kg/m3
0 (solid) |  | 915
0 (liquid) |  | 999.9
4 | 100% | 1000
10 | 100.3% | 997.3
20 | 100.2% | 998.2
30 | 100.6% | 993.7
40 | 100.8% | 992.2
50 | 101.2% | 987.7
60 | 101.7% | 983.2
70 | 102.2% | 978.7
80 | 102.9% | 971.8
85 | 103.1% | 969.55
99 | 104.1% | 960.97

## Zilmet (hidden)
|  | Model | Dia | H | Connection
HEATING | 0.001 | CAL-PRO 4 | 225 | 195 | 22
| 4 | CAL-PRO 8 | 220 | 295 | 22
| 8 | CAL-PRO 12 | 294 | 281 | 22
| 12 | CAL-PRO 18 | 290 | 400 | 22
| 18 | CAL-PRO 24 | 324 | 415 | 22
| 24 | CAL-PRO 35 | 404 | 387 | 22
| 35 | CAL-PRO 50 | 407 | 530 | 22
| 50 | CAL-PRO 80 | 450 | 608 | 22
| 80 | CAL-PRO 105 | 500 | 665 | 22
| 105 | CAL-PRO 150 | 500 | 897 | 22
| 150 | CAL-PRO 200 | 600 | 812 | 22
| 200 | CAL-PRO 250 | 630 | 957 | 22
| 250 | CAL-PRO 300 | 630 | 1105 | 22
| 300 | CAL-PRO 400 | 630 | 1450 | 22
| 400 | CAL-PRO 500 | 750 | 1340 | 25
| 500 | CAL-PRO 600 | 750 | 1555 | 25
| 600 | CAL-PRO 700 | 750 | 1755 | 25
| 700 | CAL-PRO 800 | 750 | 1855 | 25
| 800 | CAL-PRO 900 | 750 | 2105 | 25
900
HOT WATER
|  | Model | Dia | H | Connection
| 0.001 | ULTRA PRO 24 V | 270 | 485 | 25
| 24 | ULTRA PRO 50 V | 380 | 770 | 25
| 50 | ULTRA PRO 60 V | 380 | 860 | 25
| 60 | ULTRA PRO 80 V | 450 | 830 | 25
| 80 | ULTRA PRO 100 V | 450 | 910 | 25
| 100 | ULTRA PRO 200 V | 550 | 1235 | 40
| 200 | ULTRA PRO 300 V | 630 | 1365 | 40
| 300 | ULTRA PRO 500 V | 750 | 1560 | 40
| 500 | ULTRA PRO 750 V | 750 | 2075 | 40
| 750 | ULTRA PRO 1000 V | 850 | 2100 | 40
1000